## Sheet1
Electronic Appendix 3
Accuracy and precision estimates for geochemical measurements presented in paper.
Table EA3.1. Precision estimates from XRF spectrometry major element analyses, based on repeats on different disks of the same unknown sample, and repeats on the same disk of the same unknown sample.
| SiO2 | Al2O3 | Fe2O3 | MgO | CaO | Na2O | K2O | TiO2 | MnO | P2O5
repeats on different disks of the same sample
LAK21-r1 | 49.74 | 13.25 | 15.09 | 5.79 | 10.26 | 2.51 | 0.42 | 2.78 | 0.23 | 0.27
LAK21-r2 | 49.79 | 13.3 | 15.08 | 5.78 | 10.24 | 2.49 | 0.42 | 2.77 | 0.23 | 0.26
LAK21-r3 | 50.02 | 13.33 | 15.15 | 5.8 | 10.28 | 2.48 | 0.43 | 2.79 | 0.23 | 0.26
LAK21-r4 | 49.91 | 13.22 | 15.12 | 5.84 | 10.26 | 2.47 | 0.43 | 2.77 | 0.22 | 0.27
LAK21-r5 | 49.74 | 13.23 | 15.03 | 5.78 | 10.24 | 2.47 | 0.42 | 2.78 | 0.22 | 0.26
LAK21-r6 | 49.98 | 13.23 | 15.13 | 5.82 | 10.29 | 2.49 | 0.42 | 2.79 | 0.22 | 0.27
LAK21-r7 | 49.97 | 13.35 | 15.12 | 5.81 | 10.28 | 2.49 | 0.42 | 2.79 | 0.22 | 0.27
LAK21-r8 | 49.67 | 13.19 | 15.04 | 5.75 | 10.2 | 2.47 | 0.42 | 2.77 | 0.23 | 0.26
average | 49.85 | 13.26 | 15.1 | 5.8 | 10.26 | 2.48 | 0.42 | 2.78 | 0.23 | 0.26
stdev | 0.13 | 0.06 | 0.04 | 0.03 | 0.03 | 0.01 | 0 | 0.01 | 0 | 0
%P | 0.27 | 0.43 | 0.29 | 0.48 | 0.29 | 0.57 | 0.74 | 0.35 | 1.41 | 0.72
repeats on one disk of the same sample
LAK21-r8 | 49.71 | 13.21 | 15.03 | 5.81 | 10.21 | 2.43 | 0.42 | 2.78 | 0.23 | 0.27
LAK21-r8 | 49.73 | 13.24 | 15.03 | 5.77 | 10.22 | 2.53 | 0.42 | 2.77 | 0.22 | 0.27
LAK21-r8 | 49.71 | 13.22 | 15.05 | 5.78 | 10.24 | 2.45 | 0.42 | 2.77 | 0.23 | 0.26
LAK21-r8 | 49.73 | 13.22 | 15.05 | 5.78 | 10.2 | 2.41 | 0.42 | 2.78 | 0.23 | 0.26
LAK21-r8 | 49.71 | 13.23 | 15.05 | 5.78 | 10.2 | 2.46 | 0.42 | 2.77 | 0.23 | 0.27
LAK21-r8 | 49.68 | 13.2 | 15.06 | 5.78 | 10.2 | 2.49 | 0.42 | 2.77 | 0.23 | 0.27
LAK21-r8 | 49.75 | 13.17 | 15.05 | 5.77 | 10.22 | 2.42 | 0.42 | 2.78 | 0.23 | 0.26
LAK21-r8 | 49.73 | 13.18 | 15.06 | 5.8 | 10.19 | 2.47 | 0.42 | 2.77 | 0.23 | 0.26
LAK21-r8 | 49.75 | 13.19 | 15.04 | 5.78 | 10.21 | 2.46 | 0.42 | 2.77 | 0.22 | 0.26
average | 49.72 | 13.21 | 15.05 | 5.78 | 10.21 | 2.46 | 0.42 | 2.77 | 0.23 | 0.26
stdev | 0.02 | 0.02 | 0.01 | 0.01 | 0.02 | 0.04 | 0 | 0 | 0 | 0
%P | 0.04 | 0.18 | 0.07 | 0.23 | 0.15 | 1.51 | 0.38 | 0.16 | 0.59 | 0.57
Table EA3.2 Accuracy estimates from XRF spectrometry major element analyses, based on repeats on standard material of known composition. a Wilson (1997). b USGS certificate of analysis
| SiO2 | Al2O3 | Fe2O3 | MgO | CaO | Na2O | K2O | TiO2 | MnO | P2O5
BHVO1a | 49.94 | 13.8 | 12.23 | 7.23 | 11.4 | - | 0.52 | 2.71 | 0.17 | 0.27
n | 14 | 14 | 14 | 14 | 14 | - | 14 | 14 | 14 | 14
average | 50.33 | 13.68 | 12.36 | 7.17 | 11.46 | - | 0.53 | 2.73 | 0.17 | 0.29
stdev | 0.05 | 0.08 | 0.02 | 0.04 | 0.03 | - | 0 | 0.01 | 0 | 0.01
%P | 0.09 | 0.57 | 0.15 | 0.54 | 0.26 | - | 0.42 | 0.19 | 1.13 | 2.59
%A | 0.77 | 0.91 | 1.07 | 0.85 | 0.48 | - | 1.71 | 0.59 | 0.34 | 4.21
BIR1b | 47.96 | 15.5 | 11.3 | 9.7 | 13.3 | 1.82 | - | 0.96 | 0.18 | -
n | 4 | 4 | 4 | 4 | 4 | 4 | - | 4 | 4 | -
average | 47.79 | 15.53 | 11.37 | 9.51 | 13.21 | 1.8 | - | 0.94 | 0.17 | -
stdev | 0.04 | 0.05 | 0.01 | 0.02 | 0.02 | 0.01 | - | 0 | 0 | -
%P | 0.07 | 0.3 | 0.05 | 0.17 | 0.15 | 0.72 | - | 0.18 | 0.34 | -
%A | 0.36 | 0.18 | 0.57 | 2 | 0.72 | 1.39 | - | 2.29 | 2.04 | -
Table EA3.3. Precision estimates from XRF spectrometry trace element analyses, based on multiple repeats on different unknown samples. σr is the 1 sigma standard deviation of the repeat measurements.
| Nb | Zr | Y | Sr | Rb | Zn | Cu | Ni | Cr | V | Ba | Sc
LAK04
n | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
average | 19.8 | 181.51 | 40.14 | 233.4 | 7.88 | 128.46 | 97.31 | 42.51 | 71.85 | 395.2 | 81.63 | 44.39
σr | 0.093 | 0.314 | 0.169 | 0.37 | 0.149 | 1.45 | 0.57 | 0.41 | 1 | 2.6 | 2.25 | 0.67
P% | 0.47 | 0.17 | 0.42 | 0.16 | 1.89 | 1.13 | 0.59 | 0.97 | 1.39 | 0.66 | 2.76 | 1.52
LAK10
n | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
average | 19.69 | 183.18 | 40.71 | 236.39 | 8.06 | 119.21 | 92.58 | 38.53 | 62.69 | 378.13 | 86.75 | 40.84
σr | 0.155 | 0.276 | 0.125 | 0.34 | 0.213 | 0.99 | 0.59 | 0.66 | 1.15 | 1.46 | 2.33 | 0.9
P% | 0.79 | 0.15 | 0.31 | 0.14 | 2.65 | 0.83 | 0.63 | 1.73 | 1.84 | 0.39 | 2.69 | 2.2
LAK13
n | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
average | 20.19 | 186.28 | 40.89 | 233.99 | 8.15 | 127.9 | 93.73 | 39.91 | 64.2 | 394.7 | 86.96 | 42.7
σr | 0.083 | 0.249 | 0.203 | 0.3 | 0.214 | 0.92 | 0.59 | 0.61 | 0.76 | 2.3 | 4.23 | 0.6
P% | 0.41 | 0.13 | 0.5 | 0.13 | 2.62 | 0.72 | 0.63 | 1.54 | 1.18 | 0.58 | 4.86 | 1.42
LAK18
n | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
average | 20.16 | 185.53 | 41.03 | 232.99 | 8.04 | 128.04 | 97.8 | 39.26 | 60.91 | 395.61 | 85.08 | 43.11
σr | 0.106 | 0.306 | 0.175 | 0.336 | 0.169 | 0.69 | 0.63 | 0.77 | 0.85 | 2.69 | 2.66 | 0.85
P% | 0.53 | 0.16 | 0.43 | 0.14 | 2.1 | 0.54 | 0.64 | 1.96 | 1.4 | 0.68 | 3.13 | 1.97
LAK26
n | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
average | 19.48 | 181.71 | 40.31 | 236.58 | 8 | 116.73 | 94.56 | 39.7 | 65.53 | 368.96 | 86.84 | 40.84
σr | 0.046 | 0.569 | 0.196 | 0.396 | 0.141 | 0.77 | 0.68 | 0.3 | 0.56 | 2.13 | 2.9 | 0.59
P% | 0.24 | 0.31 | 0.49 | 0.17 | 1.77 | 0.66 | 0.72 | 0.75 | 0.85 | 0.58 | 3.34 | 1.45
combined
σr | 0.1 | 0.34 | 0.17 | 0.35 | 0.18 | 0.96 | 0.61 | 0.55 | 0.86 | 2.24 | 2.87 | 0.72
P% | 0.49 | 0.19 | 0.43 | 0.15 | 2.2 | 0.78 | 0.64 | 1.39 | 1.33 | 0.58 | 3.36 | 1.71
Table EA3.4. Accuracy estimates from XRF spectrometry trace element analyses, based on repeats on standard material of known composition, where nd is not determined. a Gladney et al. (1983). b Wilson (1997). c Jochum et al. (1990). d Godfrey Fitton (pers comms, 2007). e USGS certificate of analysis.
BCR1 | Nb | Zr | Y | Sr | Rb | Zn | Cu | Ni | Cr | V | Ba | Sc
BCR1a | nd | 191 | nd | nd | nd | nd | nd | nd | 16 | 404 | 678 | nd
| 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
average | 13.2 | 192.3 | 38.6 | 338 | 47.4 | 127.5 | 20.2 | 14.9 | 16 | 402.5 | 680.9 | 33.8
stdev | 0.1 | 0.8 | 0.2 | 0.9 | 0.2 | 0.8 | 0.6 | 0.4 | 0.9 | 1.9 | 3.2 | 0.7
P% | 0.39 | 0.42 | 0.57 | 0.26 | 0.4 | 0.59 | 2.76 | 2.47 | 5.7 | 0.46 | 0.46 | 2.04
A% | nd | 0.68 | nd | nd | nd | nd | nd | nd | 0.1 | 0.36 | 0.43 | nd
BHVO1b | 19.8c | 179 | 28 | 403 | 9.0d | 105 | 136 | 121 | nd | 317 | 139 | 31.8
| 6 | 6 | 6 | 6 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7
average | 20 | 174.5 | 27.6 | 396.5 | 9.1 | 104.4 | 135.9 | 119 | 287.5 | 311.8 | 134.5 | 33
stdev | 0.1 | 1.8 | 0.2 | 2.5 | 0.7 | 0.9 | 0.6 | 0.8 | 0.8 | 1.6 | 2.5 | 0.6
P% | 0.42 | 1.04 | 0.88 | 0.63 | 7.95 | 0.87 | 0.41 | 0.67 | 0.27 | 0.52 | 1.86 | 1.76
A% | 0.75 | 2.57 | 1.51 | 1.635 | 1.28 | 0.59 | 0.11 | 1.68 | nd | 1.66 | 3.33 | 3.76
BIR1e | 0.6 | 18 | 16 | 110 | 0.3 | 70 | 125 | 170 | 370 | 310 | 7 | 44
| 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
average | 0.6 | 17 | 16.5 | 108.7 | 0.3 | 66.2 | 125.9 | 155.5 | 375 | 320 | 8.1 | 43.1
stdev | 0.1 | 0.3 | 0.1 | 0.4 | 0.2 | 0.4 | 0.6 | 1 | 1.2 | 2.4 | 1.6 | 0.7
P% | 8.15 | 1.7 | 0.71 | 0.32 | 61.24 | 0.63 | 0.51 | 0.62 | 0.33 | 0.76 | 19.6 | 1.53
A% | 5.26 | 6.19 | 2.93 | 1.2 | 6.25 | 5.79 | 0.68 | 9.32 | 1.33 | 3.11 | 13.22 | 2.13
Table EA3.5. | Nb: Precision estimates for electron microprobe analyses from closely spaced (10 µm apart) repeat measurements on olivine and plagioclase crystals and matrix glass, and more widely spaced (30 µm apart) measurements on clinopyroxene, where n = number of repeats, = average of repeats and σr = 1σ standard deviation on repeats. Mean and standard deviations are given in wt%, and precision (100[σr /]) in %. Dashes indicate oxides not analysed
| Nb: plg; Y: n = 9; Zn: cpx; Ni: n = 16; Ba: olv | n = 5 |  | gls |  | n = 11
[13 empty] | P% |  |  | σr |  | P% | bar: Zr; Sr; Cu; Cr; Sc
SiO2 | 46.06 | 0.21 |  | 0.46 |  | 51.65 | 0.21 |  | 0.4 |  | 38.1 | 0.07 | 0.18 |  | 49.26 | 0.32 |  | 0.65
TiO2 | - | - |  | - |  | 0.76 | 0.02 |  | 2.51 |  | - | - | - |  | 3.08 | 0.03 |  | 1.01
Al2O3 | 33.23 | 0.13 |  | 0.4 |  | 2.16 | 0.04 |  | 2.03 |  | - | - | - |  | 12.74 | 0.09 |  | 0.72
Cr2O3 | - | - |  | - |  | 0.21 | 0.01 |  | 5.1 |  | - | - | - |  | - | - |  | -
FeO | 0.57 | 0.01 |  | 1.25 |  | 7.69 | 0.05 |  | 0.68 |  | 20.98 | 0.18 | 0.86 |  | 14.38 | 0.28 |  | 1.95
MnO | - | - |  | - |  | 0.21 | 0.01 |  | 6.51 |  | 0.33 | 0.01 | 3.36 |  | 0.25 | 0.01 |  | 5.52
MgO | 0.11 | 0.01 |  | 5.15 |  | 16.23 | 0.06 |  | 0.34 |  | 40.44 | 0.13 | 0.31 |  | 5.5 | 0.07 |  | 1.29
CaO | 17.46 | 0.08 |  | 0.48 |  | 20.19 | 0.04 |  | 0.21 |  | 0.29 | 0.01 | 2.05 |  | 9.65 | 0.05 |  | 0.49
Na2O | 1.63 | 0.02 |  | 1.2 |  | 0.27 | 0.01 |  | 3.94 |  | - | - | - |  | 2.77 | 0.21 |  | 7.4
K2O | [12 empty] | - |  | 0.46 | 0.01 |  | 2.74 | bar: Nb to Zr; Sr; Zn to Cu; Cr; Ba to Sc
P2O5 | [12 empty] | - |  | 0.42 | 0.02 |  | 4.26 | bar: Nb to Zr; Sr; Zn to Cu; Cr; Ba to Sc
NiO | - | - |  | - |  | - | - |  | - |  | 0.12 | 0.01 | 5.71 |  | - | - |  | -
Table EA3.6. Precision and accuracy estimates for REE from ICP-MS based on repeat analysis of basalt standard BCR1. * Valerie Olive (pers comms, 2006).
| La | Ce | Pr | Nd | Sm | Eu | Tb | Gd | Dy | Ho | Er | Tm | Yb | Lu
Certified values* | 24.9 | 53.7 | 6.8 | 28.8 | 6.59 | 1.95 | 1.05 | 6.68 | 6.34 | 1.26 | 3.63 | 0.56 | 3.38 | 0.51
BCR1 1 | 24.46 | 51.53 | 6.77 | 28.4 | 6.42 | 1.93 | 0.96 | 6.66 | 6.44 | 1.23 | 3.56 | 0.51 | 3.27 | 0.49
BCR1 2 | 24.3 | 51.42 | 6.75 | 28.26 | 6.4 | 1.93 | 0.96 | 6.61 | 6.42 | 1.23 | 3.53 | 0.5 | 3.25 | 0.49
BCR1 3 | 24.35 | 51.28 | 6.72 | 28.24 | 6.37 | 1.92 | 0.95 | 6.6 | 6.4 | 1.23 | 3.48 | 0.5 | 3.27 | 0.49
BCR1 4 | 24.42 | 51.52 | 6.74 | 28.36 | 6.36 | 1.93 | 0.95 | 6.63 | 6.4 | 1.23 | 3.49 | 0.5 | 3.23 | 0.49
BCR1 5 | 24.43 | 51.59 | 6.76 | 28.42 | 6.4 | 1.93 | 0.95 | 6.64 | 6.44 | 1.23 | 3.49 | 0.5 | 3.25 | 0.49
BCR1 6 | 24.34 | 51.37 | 6.72 | 28.1 | 6.38 | 1.93 | 0.95 | 6.6 | 6.37 | 1.21 | 3.49 | 0.5 | 3.21 | 0.49
BCR1 7 | 24.51 | 51.71 | 6.75 | 28.37 | 6.39 | 1.96 | 0.96 | 6.68 | 6.43 | 1.23 | 3.51 | 0.5 | 3.27 | 0.49
average | 24.4 | 51.49 | 6.74 | 28.31 | 6.39 | 1.93 | 0.96 | 6.63 | 6.41 | 1.23 | 3.51 | 0.5 | 3.25 | 0.49
stdev | 0.07 | 0.14 | 0.02 | 0.11 | 0.02 | 0.01 | 0 | 0.03 | 0.03 | 0.01 | 0.03 | 0 | 0.02 | 0
P% | 0.3 | 0.28 | 0.27 | 0.4 | 0.31 | 0.54 | 0.5 | 0.45 | 0.43 | 0.52 | 0.81 | 0.57 | 0.68 | 0.41
A% | 2 | 4.12 | 0.81 | 1.72 | 3.06 | 0.89 | 8.92 | 0.72 | -1.15 | 2.63 | 3.42 | 10.57 | 3.83 | 3.9